## Slide 1
Final report for Brendon Smith
TMT10 quantitative gel protein profiling experiments

## Slide 2
Final report for Brendon Smith
TMT10 quantitative gel protein profiling experiments

## Slide 3
Experimental workflow
Digest
Gel
Label Peptides
Combine Samples
LC-MS3
Search, filter
&
compile data
Pg. 3
Pg. 3
Pgs. 4
Pg. 5
Pgs. 6-9

## Slide 4
Sample Preparation
Samples were submitted in gel loading buffer. 5µl of each sample was combined for the “mix” sample to be included in both experiments. 30µl of each sample was loaded into 10% Bis/Tris gels and run at 120V for 12 minutes. Gels were stained for 2 hour with Coomassie and destained overnight in water. No bands were visible in tc-d279g gels. Remaining sample was loaded into new gels, stained, and destained overnight.
Gel bands or approximate areas were cut out, destained, reduced, and alkylated. In-gel Trypsin digests were performed and peptides were extracted and labeled with TMT10 reagents. Labeling reactions were combined, cleaned, and dried down. Peptides were resuspended in 5% Acetonitrile, 5% formic acid and ½ of the sample was shot on an Orbitrap Fusion Mass spectrometer.
A1 A2 A3 A4 A5 A6 A7 A8 A9 A10
A1 A2 A3 A4 A5 A6 A7 A8 A9 A10
Tc-d278g
Tc-d279g

## Slide 5
Tandem Mass Tags for Multiplexed Proteomics
2 3 4 5 6 7 8 9 10
Precursor ion (MS1 scan)
m/z
Peptide Sequencing
(MS2 scan)
Reporter ion quantification
(MS3 scan)
m/z

## Slide 6
Peptides were analyzed on an Orbitrap Fusion mass spectrometer
Peptides were separated using a gradient of 6 to 28% acetonitrile in 0.125% formic acid over 180 minutes.
Peptides were detected (MS1) and quantified (MS3) in the Orbitrap
Peptides were sequenced (MS2) in the ion trap.
MS analysis
MS1 peptide ion chromatogram
Time
Normalized intensity

## Slide 7
Protein Normalization
Protein Quant data is provided in two forms, raw signal to noise and globally normalized.
For normalized data, normalization factors are calculated based on the total summed
  signal to noise in each TMT channel.
Normalization was performed within each gel, but not between them.
The large normalization factors for tc-d278g are due to the large difference in intensity
  between the second gel band compared to the other samples.
Normalization Factors |  |  |  |  |  |  |  |  |  | 
 | A1 | A2 | A3 | A4 | A5 | A6 | A7 | A8 | A9 | A10
d178g | 4.3 | 1 | 7.7 | 7.0 | 6.8 | 8.2 | 12.3 | 5.3 | 6.7 | 5.3
d179g | 1 | 3.8 | 3.5 | 3.6 | 1.7 | 2.8 | 1.8 | 2.2 | 2.4 | 2.5

## Slide 8
d278g
Total Peptides (<1%)
5,747
Total Proteins (<1%)
788
Total Collapsed Proteins
719
Quantified Proteins
571
A summary of peptide and protein numbers
MS2 spectra were searched using the SEQUEST algorithm against a Uniprot composite database derived from the mouse proteome containing its reversed complement and known contaminants. Peptide spectral matches were filtered to a 1% false discovery rate (FDR) using the target-decoy strategy combined with linear discriminant analysis.
The proteins were filtered to a <1% FDR
Proteins were quantified only from peptides with a summed SN threshold of >=200 and MS2 isolation specificity of 0.5
FDR percentages are shown in parentheses. Quantified Proteins do not include contaminants or reverse hits.
d279g
Total Peptides (<1%)
3,719
Total Proteins (<1%)
618
Total Collapsed Proteins
572
Quantified Proteins
449

## Slide 9
Hierarchical Clustering – Normalized Data
%Relative Abundance
571 quantified proteins
Clustering was performed using the one minus Pearson Correlation method.
0
20
449 quantified proteins

## Slide 10
Example Individual protein profiles
Expression is the same across all samples
Decreased in Bortezomib samples
Possible increase in Cholesterol Samples

## Slide 11
Protein quant data is included as an excel spreadsheet. Quantitative data is provided in two forms: 1) total summed intensity of peptides assigned to each protein and 2) normalized relative abundance
    Please use caution with proteins quantified by one peptide only!
Data file summary

## Slide 12
Final report for Smith, B. – TMT10 quantitative gel protein profiling experiments